CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L3672)

NAME:Guangdong Boluo Quality & Technology Supervision Testing Institute

ADDRESS:China Quality & Technology Supervision Building, Bohui Road, Boluo, Guangdong, China

Accreditation Criteria:ISO/IEC 17025:2005 and relevant requirements of CNAS

Date of Issue:2012-05-10                      Date of Expiry:2015-05-09

- Date of Update：2012-05-10

APPENDIX 3   ACCREDITED CALIBRATION

| № | Instrument | Parameter | Code of Field | Title, Code of Calibration Method | Range | Uncertainty (CMC, k=2) | Limitation | Note |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Gauge Block | Length | 1308 | JJG 146-2003 V.R.of Gauge Block | (0.5～100)mm | U=0.14μm+1.4×10-6ln |  |  |
|  |  |  |  |  | (125～500)mm |  |  |  |
|  |  |  |  |  | (10～291.8)mm |  |  |  |
| 2 | Steel Tape | Length | 1303 | JJG4-1999 Steel Tape | ≤100 m | U= (0.21～0.9)mm |  |  |
| 3 | Steel Rule | Length | 1303 | JJG1-1999 V.R. of Steel Rule | (0~500)mm | U=0.11mm |  |  |
|  |  |  |  |  | (0~1000)mm | U=0.12mm |  |  |
| 4 | Micrometer | Length | 1303 | JJG21-2008 Verification Regulation of Micrometer | (0~25)mm | U=1.5μm |  |  |
|  |  |  |  |  | (＞25~100)mm | U=1.8μm |  |  |
|  |  |  |  |  | (＞100~500)mm | U=3μm |  |  |
| 5 | Internal Micrometer | Displacement Length | 1302 | JJG22-2003 V.R. of Internal Micrometer | (50～600)mm | U =(2.0-2.9)μm |  |  |
| 6 | Depth Micrometer | Displacement Length | 1303 | JJG24-2003 V.R. of Depth Micrometer | (0～300)mm | U=1.5μm |  |  |
| 7 | Feeler GaUge | Length | 1303 | JJG62-2007 Verification Regulation of Feeler Gauge | (0.02~0.10)mm | U=1.1μm |  |  |
| 8 | Current Caliper | Length | 1303 | JJG30-2002 Verification Regulation of Current Calipers | (0～500)mm | U =0.02mm |  |  |
| 9 | Bore Dial Indicator | length | 1303 | JJF1102-2003 V.R.of Bore Dial Indicator | (0～500)mm | U =2.0mm |  |  |
| 10 | Dial Ganges(dial and digital) | Length | 1303 | JJG34-2008 Verification Regulation of Dial Ganges(dial and digital) | (0～10)mm | U=3.0μm |  |  |
|  |  |  | 1303 |  | (0～2)mm | U=1.5μm |  |  |
| 11 | Wide Range Dial Gauges Reading in0.01mm | Displacement Length | 1303 | JJG379-2009 V.R. of Wide Range Dial Gauges Reading in 0.01mm | (0～50)mm | U =3.0mm |  |  |
| 12 | Eddy Current Measuring Instrument for Coating Thickness | Length | 1309 | JJG818-2005 Verification Regulation of Eddy Current Measuring Instrument for Coating Thickness | (0～1000)μm | U =(0.21-3.4)mm |  |  |
| 13 | Fineness of grind Gage | Length | 1303 | JJG 905-2010 V.R.of Fineness of Grind Gage | (0～150)μm | U =0.4mm |  |  |
| 14 | Measuring Microscope | Length | 1309 | JJG 571-2004 V.R.of Reading Microscope and Measuring Microscope | 200mm´100mm | U=1.5mm |  |  |
| 15 | Projector | Scale | 1309 | JJF1093-2002 C.S.for Projector | 200mm´100mm | U=1.8mm |  |  |
| 16 | Three Measuring Wires | Diameter | 1308 | JJF1207-2008 Calibration Specificationfor Cylindrical Measuring Pin | Φ(0.118～ 6.585)mm | U =0.3 μm |  |  |
| 17 | Ring Gauge | Diameter | 1308 | JJG894-1995 V.R. of Ring Gauge | ≤160mm | U =1.5μm |  |  |
| 18 | Smooth Limit Gauge | Diameter | 130113 | JJG 343-1996 V.R. of Smooth Limit Gauge | ≤100mm | U =0.9μm |  |  |
| 19 | Test Sieve | Aperture | 1303 | JJF 1175-2007 Calibration Specification for Test Sieves | (0.02～125)mm | U =(0.002～0.04)mm |  |  |
| 20 | Square | Angle | 1303 | JJG7-2004 V.R.of Graduated Steel Square | 500mm | U=0.2mm |  |  |
| 21 | Universal Bevel Protractors | Angle | 1303 | JJG 33-2002 V.R. of Universal Bevel Protractors | (0~320)° | U=1′ |  |  |
| 22 | Flat Plate | Flatness | 1303 | JJG117-2005 V.R. of Flat Plate | 400mm×400 mm至2500mm×1600mm | U=(0.9～3)mm |  |  |
| 23 | Toolmaker’s Microscope | Length | 1309 | JJG56-2000 V.R.of Universal Measuring Microscopes and Makers Microscopes | (0～200)mm | U= 1.4μm |  |  |
| 24 | Coordinate Measuring Machine | Length | 1309 | JJF1064-2010 Calibration Specification for Coordinate Measuring Machines | (0～1000)mm | U=(0.3+L/1000)μm |  |  |
| 25 | Video Measuring Machine(2-D instrument) | Length | 1309 | JJG56-2000 V.R.of Toolmaker's Microscope | ≤200mm | U=1.4μm |  |  |
| 26 | Radius Gauge | Length | 1308 | JJG 58-2010 V.R.of Radius Gauge | R(1～25)mm | U=(0.006～0.009)mm |  |  |
| 27 | Instrument for the Measurement of Surface Roughness | Roughness | 1308 | JJF1105-2003 C.S.of Contact (Stylus) Instruments of Surface Roughness Measurement by the Profile Method | Ra：(0.1～3.2)μm | Urel =3%,k=3 |  |  |
| 28 | Slanting Feeler Gauge | Length | 1303 | JJF1110-2003 C.S.of Construction Quality Tester Sets | (0～15)mm | U=0.04mm |  |  |
| 29 | Dial Test Indicator | Length | 130321 | JJG35-2006 V.R.of Dial Test Indicator | (0～1)mm | U =1.3μm |  |  |
|  |  |  |  |  | (0～0.4)mm | U =0.6μm |  |  |
| 30 | Height Gauge | Altiude | 1303 | JJG31-2011 V.R.of Height Gauge | (0～1000)mm | U=(0.01～0.04)mm |  |  |
| 31 | Thickness/ Height Gauge | Length | 1303 | JJG830-2007 V.R.of Depth Gauge Reading in 0.01 mm | ≤50 mm | U=(2.1~3.2)μm |  |  |
| 32 | Dropping test table | Length | 1303 | JJG(Meng) 013-2009 V.R.of Drop Test Machine for Cement Sacks | 5m | Urel=0.2% |  |  |
| 33 | Frame Level and shaft Level er | Angle | 1309 | JJF1084-2002 C.S.for Frame Level and Shaft Level | ≤1.5mm/m | Urel=6% |  |  |
| 34 | Cloth Tape | Length | 1303 | JJG5-2001 V.R.of Fiber Tapes and Measuring Ropes | (0~50)m | U=(0.14～0.6)mm |  |  |
| 35 | Metre Meter | length | 1303 | JJG987-2004 Cable Length Meter | (0~40)m | Urel=0.13% |  |  |
| 36 | X-ray thickness gauge | Length | 1303 | JJG480-2007 V.R.of X-ray thickness gauge | (0～100)µm | Urel=9﹪ |  |  |
| 37 | Ultrasonic Thickness Gauge | Length | 1309 | JJG1126-2004 C.S.for Ultrasonic Thickness Instruments | (1～200)mm | U=(66～74μm) |  |  |
| 38 | Thickness Dial Gauge | Thickness | 1303 | JJF1255-2010 C.S.for Thickness Gauges | (0～30)mm | U=(2.2~2.7)μm |  |  |
| 40 | Niece micrometr | Length | 1303 | JJF1091-2002 C.S.for Micrometer measuring the size | (5～50)mm | U= (1.3～2)μm |  |  |
| 41 | Micrometer pore size | Length | 1303 | JJF1091-2002 C.S.for Micrometer measuring the size | (6～50)mm | U=(1.1～1.4)μm |  |  |
| 42 | Micrometer Dial Comparater | Length | 1303 | JJG26-2001 V.R.of Micrometer Dial Comparater and Indicating Snap Gaug | （0~100）mm | U=(0.4~1.2)μm |  |  |
| 43 | Digital altimeter | Length | 1303 | JJF1254-2010 C.S.for Digital altimeter | (0～1000)mm | U=1.8μm |  |  |
| 44 | Partial place check | Length | 1309 | JJF 1109-2003 C.S.for check norm beating | ≤2000 mm | U=1.7μm |  |  |
| 45 | Rubber granulated substance experimental mold | Length | 1303 | JJG (building materials) 122-99 V.R.of Rubber granulated substance experimental mold | （0-300）mm | U=(0.02～0.05)mm |  |  |
| 46 | The ventilation law compares the table planimeter | Length | 1308 | JJG (building materials) 107-1999 The ventilation law compares the surface area | (0～300)mm | U=(0.02～0.05)mm |  |  |
| 47 | The Standard Testing Sieve of Cement Fineness | Length | 0357 | JJG(building materials) 106-1999 V.R.of The Standard Testing Sieve of Cement Fineness | (0～20)mm | U=3.1μm |  |  |
| 49 | Universal Tension and Compression Testing Machine | Force | 1326 | JJG139-1999 V.R.of Universal Tension and Compression Testing Machine | 2.5kN～5MN | Urel=0.5% |  |  |
| 50 | Tension Compression and Universal Testing Machine for Non-metallic | Force | 1326 | JJG157-2008 V.R.of Tension Compression and Universal Testing Machine for Non-metallic | ≤3MN | Urel=0.5% |  |  |
| 51 | Electronic Universal Testing Machine | Force | 1326 | JJG475-2008 V.R.of Electronic Universal Testing Machine | ≤1MN | Urel=0.5% |  |  |
| 52 | Universal Testing Machine for Wood | Force | 1326 | JJG474-1986 V.R.of Universal Testing Machine for Wood | ≤3MN | Urel=0.5% |  |  |
| 53 | Spring Tension and Compression Testing Machine | Force | 1326 | JJF1134-2005 C.S. for Working Force Measuring Machines for Special Purposes | （0～10）kN | Urel=0.5% |  |  |
| 54 | Flexure Testing Machine | Force | 1323 | JJG476-2001 V.R.of Flexure Testing Machine | ≤6kN | Urel =0.4% |  |  |
| 55 | Cement sand puddler | Rotation | 1015 | JJG（B.M）102-1999 V.R.of Cement sand puddler JJG（B.M）123-1999 V.R. of Planetary Cement sand puddler | (0～1000)r/min | U=(1～2)r/min |  |  |
|  |  | Time |  |  | (0～3)min | U=0.2s |  |  |
|  |  | length |  |  | (0～300)mm | U=(0.02～0.05)mm |  |  |
| 56 | Cement slurry puddler | Rotation | 1015 | JJG（BM）104-1994 V.R.of Cement slurry puddler | (0～1000)r/min | U =(1～2)r/min |  |  |
| 56 | Cement slurry puddler | Working time | 1015 | JJG（BM）104-1994 V.R.of Cement slurry puddler | (0～10)min | U=0.2s |  |  |
|  |  | length |  |  | (0～300)mm | U=(0.02～0.05)mm |  |  |
| 57 | Cement sand shake dais | Size | 1015 | JJG(BM)124-1999 V.R.of Cement sand shake dais | (0～10)mm | U=0.15mm |  |  |
|  |  | Time |  |  | (0～3)min | U=0.2s |  |  |
|  |  | Mass |  |  | 20kg | U=1.5g |  |  |
| 58 | Tester for Cement Mortar FlUidity | Mass | 1015 | JJG（B.M）126-1999 V.R.of fluidity of cement mortar | 10kg | U=1.4g |  |  |
|  |  | Time |  |  | (0～15)min | U=0.2s |  |  |
|  |  | length |  |  | (0～100)mm | U=0.02mm |  |  |
| 59 | Standard consistency & curdle time (cement net-paste) tester | Mass | 1015 | JJF1090-2002 C.S.for Nonmetal Building Materials Plastic Measuring Instruments | 300g | U=0.2g |  |  |
|  |  | length |  |  | (0~70)mm | U=0.03mm |  |  |
| 60 | Working Dynamometers | Force | 1323 | JJG 455-2000 V.R.of Working Dynamo | ≤3MN | Urel =0.4% |  |  |
| 61 | Torque Wrenches | Torque | 1325 | JJG707-2003 Verification Regulation of Torque Wrenches | ≤300N·m | Urel=1.5% |  |  |
| 62 | Torsional Meter | Torque | 1325 | JJG707-2003 V.R.of Torque Wrenches | (0.15~5)N·m | Urel=0.5% |  |  |
| 63 | Rockwell Hardness Tester | Hardness | 1326 | JJG112-2003 V.R.of Metallic Rockwell Hardness Testers（Scales A,B, C,D,E,F,G,H,K,N,T） | HRA：80～88,HRB：20～100,HRC：20～100 | U=(0.5～0.6)HR |  |  |
| 64 | Shore A Type Hardness Tester | Shore Hardness | 1314 | JJG304-2003 V.R.of Shore Hardness Tester | （20～100）HA | Urel=0.16% |  |  |
| 65 | Comcrete Test Hammer | Hamindication | 1002 | JJG817-1993 V.R.of Comcrete Test Hammer | 20～100 | Urel=0.7%,k=2 |  |  |
| 66 | Pressure Gauge | Pressure | 1320 | JJG52-1999 V.R. of Bourdon Tube Pressure Gauge, Pressure Vacuum Gauge and Vacum Gauge for General Use | (-0.1～60)MPa | Urel=1.1% |  |  |
| 67 | Precision Pressure Gauge | Pressure | 1320 | JJG49-1999 V.R.of Bourdon Tube Precision Pressure Gauge and Vacuum Gauge | (-0.1～60)MPa | Urel=0.2% |  |  |
| 68 | Capsule Pressure Gauge | Pressure | 1320 | JJG 573-2003 V.R.of Capsule Pressure Gauge | (0.25～150)kPa | U=1.2%,k=2 |  |  |
| 69 | Pressure Transmitters | Pressure | 1320 | JJG882-2004 V.R.of the Pressure Transmitter | (-0.1～+60) MPa | Urel=(0.012～0.06)% |  |  |
| 70 | Weights | Error of Mass indication | 1310 | JJG99-2006 Verification Regulation of Weights | 1mg～500mg | U=0.09mg | Smaller than F2 grade |  |
|  |  |  |  |  | 1g～500g | U=0.23mg～2.7mg | Smaller than F2 grade |  |
|  |  |  |  |  | 1kg～20kg | U=10mg～0.2g | Smaller than M1 grade |  |
| 71 | Digital Indicating Weighing Instrument | error of Mass indication | 1311 | JJG539-1997 V.R.of Digital Indicating Weighing Instrument | 1kg～60t | U=0.3g~19kg | Smaller than Ⅲ grade |  |
| 72 | AnalogUe Indication Weighing Instrument | error of Mass indication | 1311 | JJG13-1997 V.R.of of Analogue Indication Weighing Instrument | 1kg～10t | U=6g~15kg | Smaller than Ⅲ grade |  |
| 73 | Nonselfindicating Weighing Instrument | error of Mass indication | 1311 | JJG14-1997 V.R.of Nonselfindicating Weighing Instrument | 1kg～60t | U=6g~12kg | Smaller than Ⅲ grade |  |
| 74 | Top-Pan Balance | Mass | 1311 | JJG156-2004 V.R.of Top-Pan Balance | 100g～20kg | U=0.05 g～2.0g |  |  |
| 75 | Mechanical Balance | Mass | 1311 | JJG 98-2006 V.R.of Mechanical Balance | 1mg～20kg | U=0.50mg |  |  |
| 76 | Electronic Balance | Mass | 1311 | JJG1036-2008 V.R.of Electronic Balance | 1mg～80kg | U=0.8mg~4g | Smaller thanⅠ grade |  |
| 77 | Instruments for Measuring the Moisture Content with Baking Method | Indication errors | 1311 | JJG 658-2010 V.R. of Instruments for Measuring the Moisture Content of Grain with Baking Method | 1mg~100g | U=0.7mg~7mg |  |  |
| 78 | General Glass Container | Capacity | 1312 | JJG196-2006 V.R.of General Glass Container | 0.1ml～2000 ml | U=0.01ml~5.0ml |  |  |
| 79 | Quantitative Automatic Gravimetric Filling Instruments | Mass | 1311 | JJG564-2002 V.R.of Quantitative Automatic Gravimetric Filling Instruments | ≤30t | Urel=0.04% |  |  |
| 80 | Quantitative Filling Machine for Liquid state Material | Volume | 1312 | JJG 687-2008 V.R.of Quantitative Filling Machine for Liquid state Material | Constant volume: ≤150 L | Constant volume:: Urel=0.14% |  |  |
|  |  | Weight |  |  | Fixed weight : ≤150kg | Fixed weight: Urel=0.10% |  |  |
| 81 | Rotameter | Flow | 1316 | JJG257-2007 V.R.of Float Meter | (0～65)m3/h | Liquid:Urel=0.4% Gas:Urel=0.3% |  |  |
| 82 | Gas Displacement Meter | Flow | 1316 | JJG633-2005 V.R.for Gas Displacement Meters | (0～65)m3/h | Urel=0.66% |  |  |
| 83 | Velocity Flow Meter | Flow | 1316 | JJG198-1994 V.R.of Velocity Flow Meter | (0～600)m3/h | Urel=1.6%, | Accredited Only for B |  |
| 84 | Liquid Positive Displacement flow meter | Flow | 1316 | JJG 667-2010 V.R.of Liquid Positive Displacement flow meter | (0～600)m3/h | Urel=1.7% | Accredited Only for liquid which viscosity smaller than 2mPas |  |
| 85 | Flow Measurement | Flow | 1316 | JJG 711-1990 Weirs and Flumes forFlow Measurement | (0.001～93)m3/s | Urel=1.0% |  |  |
| 86 | Electronic Counting Tachometer | Rotate speed | 1324 | JJG105-2000 V.R.of Tachometers | （2~500）r/min | Urel=0.5×10-3 |  |  |
| 86 | Electronic Counting Tachometer | Rotate speed | 1324 | JJG105-2000 V.R.of Tachometers | （500~30 000）r/min | Urel=1.3×10-4 |  |  |
| 87 | Portable 3-Cup Anemometer | Wing speed | 1316 | JJG431-1986 V.R.of Portable 3-Cup Anemometer Type DEM | (0.4～30)m/s | U =(0.2～0.6)m/s |  |  |
| 88 | Contact Anemorumbometer | Wind speed | 1316 | JJG 613-1989 V.R.of Contact Anemorumbo meter | (0.4～30)m/s | U =(0.2～0.6)m/s |  |  |
| 89 | Portable Induction Anemometer | Wing speed | 1316 | JJG515-1987 V.R.of Portable Induction Anemometer | (0.4～30)m/s | U =(0.2～0.6)m/s |  |  |
| 90 | Standard Metal Tank for 3 Class | Capacity | 1312 | JJG259-2005 V.R.of Standard Metal Tank | (1～2000)L | Urel=0.1%～0.05% |  |  |
| 91 | Fuel Dispensers | Capacity | 1316 | JJG443-2006 V.R.of Fuel Dispensers | (0～9999)L | Urel=0.10% |  |  |
| 92 | Water Meter | Capability Tube Dra.(15～300)mm | 1316 | JJG 162-2009 V.R. of Cold Water Meter | （0～2500）m3/h | Urel=0.6% |  |  |
| 93 | Gas Meter | Flow | 1316 | JJG 577-2005 V.R.of Diaphragm Gas Meters | (0～1000)L | Urel=0.61% |  |  |
| 94 | Pendulum Impact Testing Machine | Torque of Pendulum | 1323 | JJG145-2007 V.R.of Pendulum Impact Testing Machine | ≤500N·m | Urel=0.18% |  |  |
|  |  | Distance between Impact Point and Axis line |  |  | ≤2m | Urel= 0.06% |  |  |
| 95 | Calibrating Instrument for Torque Wrenches | Torque | 1325 | JJG797-1992 V.R.of Calibrating Instrument for Torque Wrenches | (0~100) N·m | Urel=0.02% |  |  |
| 96 | Metal Vickers Hardness Tester | Vickers hardness | 1326 | JJG151-2006 V.R.of Metal Vickers Hardness Tester | (100～1000)HV | Urel=0.9%～2.4% |  |  |
| 97 | Metatic Webster Hardness Testing Machine | Webster Hardness | 1326 | JJG 944-1999 V.R.of Metatic Webster Hardness Testing Machine | (0～20)HW | U=1.0 HW |  |  |
| 98 | Microhardo-meter | Microhardo Value | 1326 | JJG151-2006 V.R.of Metal Vickers Hardness Tester | (100～1000)HV | Urel=(1.5～5.2)% |  |  |
| 99 | Leeb Hardness Tester | Leeb Hardness | 1307 | JJG747-1999 V.R.of Leeb Hardness Tester | (530～790)HLD | U=(4.4～7.3)HLD |  |  |
| 100 | Metal Brinell Hardness Tester | Brinell Hardness | 1326 | JJG150- 2005 V.R.of Metal Brinell Hardness Tester | (75～250) HBS(W) | Urel=3.0% |  |  |
| 101 | Shore Hardness Tester | Vickers Hardness | 1326 | JJG346-1991 V.R.of Shore Hardness Tester | 20HSD～90HSD | U=(0.85～1.4)HSD |  |  |
| 102 | Superficial Rockwell Hardness Tester | Rockwell Hardness | 1326 | JJG112-2003 V.R.of Metal Superficial Rockwell Hardness Tester | (89～91)HR15N (42～80)HR30N (37～61)HR45N (87～93)HR15T (70～82)HR30T (45～72)HR45T | U=(0.6～0.7)HRN(T) |  |  |
| 103 | Equipment of Power Measuring | Torque measure | 1312 | JJG653-2003 V.R. of Equipment of Power Measuring | ≤1000N | Urel=0.4% |  |  |
|  |  | Sleeve&rotor axes |  |  | 20000r/min | Urel=0.1% |  |  |
| 104 | AKRON Abrasion Tester | Glue Wheel supported over load power | 1323 | JJG (chemical)103-1991 V.R.of AKRON Abrasion Machine for Rubber | (0～100)N | Urel=0.4% |  |  |
|  |  | Glue Wheel Speed |  |  | (30～300)r/min | Urel=0.9% |  |  |
|  |  | Glue Wheel Rotating and Grinding Wheel Angle |  |  | 5°～35° | Urel=0.7% |  |  |
|  |  | Grindin Wheel Speed |  |  | (20～60)r/min | Urel=0.9% |  |  |
| 105 | Bursting Strength Tester | Bursting strength | 1323 | JJG(light)61-2000 V.R.of Bursting Strength Tester for Paper and Board | （0～16）kg/ cm2 | Urel=0.2% |  |  |
| 106 | Color Fastness Testing Machine | Rotate Speed | 1303 | JJG(Textile)035-1990 V.R.of Color Fastness Testing Machine | 40r/min | Urel=1% |  |  |
| 106 | Color Fastness Testing Machine | Temperature | 1303 | JJG(Textile)035-1990 V.R.of Color Fastness Testing Machine | (0～100)℃ | Urel =0.8% |  |  |
|  |  | Size |  |  | (0～200)mm | Urel =0.03% |  |  |
| 107 | Compression Strength for Board | Tester Strength | 1323 | JJG(Textile) 49-2000 V.R.of Compression Strength for Board | (0-3)kN | Urel=0.4% |  |  |
|  |  | Flatness of two sides |  |  | (18-35)mm | U=(0.01~0.04)mm |  |  |
| 108 | Coloration Friction Color Fastness Measuring Meter | Friction Noddle Test Force | 1323 | JJG(Textile)036-1990 V.R.of Coloration Friction Color Fastness Measuring Meter | (0～10)N | Urel=0.42% |  |  |
| 109 | moisture content measuring meter | Mass | 1310 | JJG 986-2004 V.R.of Wood moisture content measuring meters | (6～35)% | Urel=0.5% |  |  |
| 110 | Dust Sampler | Flow Rate | 1316 | JJG 520-2005 V.R.of Dust Samplers | (0.1～150)L/min | Urel=2% |  |  |
| 111 | Sphygmomanometer | Pressure | 1320 | JJG270-2008 V.R.of the Desk Sphygmo- manometer | (0～40) kPa | U=0.12 kPa |  |  |
| 112 | Buoy type oxygen inhalator | Flow | 1316 | JJG913-1996 V.R.of Buoy type oxygen inhalator | (1～10)L/min | Urel=1.8% |  |  |
| 113 | Alcoholometer | Concentration | 1315 | JJG 42-2001 V.R.of Working Glass Hydrometers | (0～100)% Vo1 | U=0.05% |  |  |
| 114 | Centrifuge | Rotational speed | 1324 | JJG972-2002 V.R.of Centrifugal-type permanent acceleration testing machine | (0～104)r/min | Urel=0.1% |  |  |
| 115 | Gas Vane Wheel Type Flowmeter | flow | 1316 | JJG633-2005 V.R.of Gas Displacement Meters | (0～3000)m3/h | Urel=0.5% | DN(15-250)mm |  |
| 116 | Vortex Shedding Flowmeter | flow | 1316 | JJG1029-2007 V.R.of Vortex-shedding Flowmeter | (0～3000)m3/h | Urel=0.5% | DN(15-250)mm |  |
| 117 | Mass Flowmeters | flow | 1316 | JJG897-1995 V.R.of Mass Flow Meters | (0～3000)m3/h | Urel=0.5% | DN(15-250)mm |  |
| 118 | Turbine Flowmeter | flow | 1316 | JJG1037-2008 V.R.of turbine flowmeters | (0～3000)m3/h | Urel=0.5% | DN(15-250)mm |  |
| 119 | Penetrometer | Mass | 1310 | JJF1208-2008 C.S for Apparatus for Determining | (0～1000)g | U=0.6g, |  |  |
|  |  | Length |  |  | (0～100) mm | U=(0.02～ 0.05)mm |  |  |
| 120 | Compaction meter | Mass | 1310 | JJG (transportation) 058-2004 V.R.of earthwork compaction meter | (0～6)kg | U=5g |  |  |
|  |  | Length | 1308 |  | (0～500)mm | U=0.4mm |  |  |
|  |  | Length | 1308 |  | (0～300)mm | U=(0.02～0.05)mm |  |  |
| 121 | Lei clamps inflates the cryoscope | Mass | 1311 | JJG (building materials) 110-1994 V.R.of Lei Clamps Inflation Cryoscope Examination Regulations | (0～1)kg | Urel=0.8% |  |  |
| 123 | Roller Type Speedometer Tester | Velocity | 1324 | JJG 909-2009 V.R.of Roller Type Speedometer Tester | (0～120) km / h | Urel=0.7% |  |  |
| 124 | Type Pressure Gauge | Pressure | 1320 | JJG927-1997 V.R.of Type Pressure Gauge | (0～2.5) MPa | Urel=0.7%FS |  |  |
| 125 | Digital Pressure Gauge | Pressure | 1320 | JJG 875-2005 V.R.of Digital Pressure Gauge | (-0.1~60) MPa | Urel=0.11%FS |  |  |
| 126 | Electrocardiograph And Electro- encephalo- graph | Voltage | 1700 | JJG543-2008 V.R.of Electrocardio- graph And Electroence- phalograph | polarize voltage: (0～300) mV | Urel=1.2% |  |  |
| 127 | Ceinical Chemistry Analyzer | Abs | 0101 | JJG464-1996 V.R. of Ceinical Chemistry Analyzer | Abs :(0.1～1.0) | U=(0.006～0.008)Abs | Accredited Only for Abs |  |
| 129 | Medical Diagnostical X-ray Radiation Source | Air Kerma Rate | 0517 | JJG744-2004 V.R.of Medical Diagnostical X-ray Radiation Source | (4～1000) mGy/min | Urel=8% | Except for tube current |  |
| 130 | Ultrasonic Source for Medical Ultrasonic Diagnostic Equipment | Resolution of Ultrasonic Source | 1205 | JJG639-1998 V.R.of Ultrasonic Source for Medical Ultrasonic Diagnostic Equipment | (0～100)mW | Urel=11% |  |  |
| 131 | Sound Level Meter | level of instruction | 1401 | JJG 188-2002 V.R.of Sound Level Meters | 94.0dB | U=2.2dB | Accredited Only for adjust Sound level |  |
| 132 | Whiteness meter | Whiteness | 1613 | JJG 512-2002 V.R.of Whiteness meter | W:65～90 | U=2.0 |  |  |
| 133 | Specular Gloss Meter | Glossiness | 1613 | JJG 696-2002 Verification Regulation of Specular Gloss Meters and Gloss Plates | （0~100） Gloss Unit | U=0.46Gloss Unit |  |  |
| 134 | Colorimeter | color surface | 1613 | JJG595-2002 V.R.of Colorimeter and Colour Differences Meter | Y:10～90 | U=2 |  |  |
| 135 | Standard Light Both | Intensityof Illumination | 1607 | JJG(Textile)066-95 V.R.of standard light both | （0～9999）lx | Urel=2.2% | Except for color temperature item |  |
| 136 | Boiling Box for cement invariability Test | Temperature | 1504 | JJG(building materials) 109-1994 V.R. of Boiling Box for cement invavibilitg Test | 100℃ | U=0.2℃ |  |  |
|  |  | Time |  |  | (0～180)min | U=1min |  |  |
| 137 | Working Base Thermometer | Temperature | 1501 | JJG351-1996 V.R.of WorkingBase Thermometer | (300～1200)℃ | Urel=0.2% |  |  |
| 138 | Working Base Platinum Copper Resistance Thermistor | temperaturer | 1501 | JJG 229-2010 V.R. of Working Base Platinum Copper Resistance Thermistor | (-30～420)℃ | U=(0.3～0.5 )℃ |  |  |
| 139 | Electric Contact Mercury-in-Glass Thermometers | Temperature | 1501 | JJG131-2004 V .R. of the Electric Contact Mercury-in-Glass Thermometers | (-30～300)℃ | U=(0.05～0.2)℃ |  |  |
| 140 | Liquid-in-Glass Thermometers for Working | Temperature | 1501 | JJG130-2004 V.R.of Liquid-in-Glass Thermometers for Working | (-30～300)℃ | U=(0.05～0.2)℃ |  |  |
| 141 | Bimetallic Thermometer | Temperature | 1501 | JJG226-2001 V.R. of Bimetallic Thermometer | (-30～300)℃ | U=(0.3℃～2℃) |  |  |
| 142 | Filled System Thermometer | Temperature | 1501 | JJG310-2002 V.R.of Filled System Thermometer | (-30～300)℃ | U =(0.3℃～2℃) |  |  |
| 143 | Radiation Thermometer | Temperature | 1501 | JJG415-2001 V.R.of the Working Radiation Thermometers JJG856-1994 V.R.of Working Radiation Thermometers below 500℃ JJG67-2003 V.R.of Total Radiation Pyrometers JJF1107-2003 C.S.of Infrared Thermometers for Measurement of Human Temperature | (0～1300)℃ | U= (0.5～5)℃ |  |  |
| 144 | Digital Temperature Indicators and controllers | Temperature | 1502 | JJG617-1996 V.R.of Digital Temperature Indicators and controllers | Mate Resistance: (-200～850)℃ | U=(0.5～5)℃ |  |  |
|  |  |  |  |  | Mate Thermocouple: (0～1600)℃ |  |  |  |
| 145 | Analogue Temperature Indicators and Controllers | Temperature | 1502 | JJG951-2000 V.R.of Analogue Temperature Indicators and Controllers | Mate Resistance: (-200～850)℃ | U=(0.5～5)℃ |  |  |
|  |  |  |  |  | Mate Thermocouple: (0～1600)℃ |  |  |  |
| 146 | Temperature Indication Controller | Temperature | 1502 | JJG 874-2007 V.R.of Temperature Indication Controller | (-30～300)℃ | U=(0.3～2)℃ |  |  |
| 147 | Temperature Itinerant Detecting | Temperature | 1501 | JJF 1171-2007 C.S.for Temperature Itinerant Detecting Instrument | (-30～300)℃ | U=(0.3～2)℃ |  |  |
| 148 | Temperature and humidity test equipment | Temperature | 1504 | JJF 1101-2003 C.S.for Environmental testing equipment temperature,humidity | （0～300）℃ | U=0.5℃ |  |  |
|  |  | Relative humidity |  |  | (30～95)%RH | U=5%RH |  |  |
| 149 | Mechanical Thermohygrometer | Temperature | 1517 | JJG 205-2005 V.R.of Mechanical Thermohygrometers | （5～50）℃ | U=(0.7～1)℃ |  |  |
|  |  | Relative humidity |  |  | (30～90)%RH | U=3%RH |  |  |
| 151 | Polarimeter | Polary | 1603 | JJG536-1998 V.R.of Polarimeter and Saccharimeter | Polarimeter: -45°～+45° Sacchari- meter: -20°Z～+105°Z | U=（0.005°～0.008°） |  |  |
| 152 | Abbe-Refractometer | Refractive Index | 1604 | JJG625-2001 V.R.of Abbe- Refractometer | 1.300～1.700 | nd:U=8.1×10-5,nf-nc:U=9.6×10-5 |  |  |
| 154 | Air Sampler | Flow | 0236 | JJG956-2000 Verification Regulation for Air Sampler | (20～2000) ml/min | Urel=2.5% |  |  |
| 156 | Visible Range Spectrophoto- meter | Wavelength | 1618 | JJG178-2007 V.R.of Ultraviolet、Visible、Near-Infrared Spectrophotometers | 360nm~800nm | U=(0.4~1.2)nm | Accredited Only for Ⅲ、Ⅳ |  |
|  |  | Transmission ratio |  |  | 0%~100% | U=(0.09~0.16)% |  |  |
| 157 | UV Range Spectrophoto- meter | Wavelength | 1618 | JJG178-2007 V.R.of Ultraviolet、Visible、Near-Infrared Spectrophotometers | 190nm~880nm | U=(0.4~0.7)nm | Accredited Only for Ⅲ、Ⅳ |  |
|  |  | Transmission ratio |  |  | (0~100)% | U=(0.09~0.16)% |  |  |
| 158 | ELISA Analytical Instruments | Wavelength | 0711 | JJG861-2007 V.R.of ELISA Analytical Instruments | (360～700)nm | U=0.98 nm |  |  |
|  |  | Absorbency |  |  | Abs :(0.000～4.000)Abs | U=0.01Abs |  |  |
| 159 | Atomic Absorption Spectrophoto meter | Wavelength | 1618 | JJG 694-2009 V.R.of Atomic Absorption Spectrophotometer | Wavelength: (190~ 900) nm | U=0.09nm |  |  |
|  |  | Limit to Measuring |  |  | Limit to Measuring Copper by Flame Method : ≤0.02μg/ml | U=0.005μg/mL |  |  |
|  |  |  |  |  | Limit to Measuring Cadmium by G.A: ≤4 pg | U=0.3pg |  |  |
| 160 | TUrbidimeter | tUrbidity value | 1700 | JJG880-2006 V.R.of Turbidimeter | (0～400)NTU | Urel=3.5% |  |  |
| 161 | Laboratory Ph Meter | pH | 0236 | JJG119-2005 V.R.for Laboratory Ph Meter | (0~14)pH | Indicator：U=0.007pH |  |  |
|  |  |  |  |  |  | Instrument：U=0.02pH |  |  |
| 162 | Electrolytic Conductance Meter | Conductance | 0236 | JJG376-2007 V.R.of Electrolytic Conductence Meter | （0.05~100000）μS | Indicator： Urel=0.21% |  |  |
|  |  |  |  |  |  | Instrument： Urel=0.38% |  |  |
| 163 | Gas Chromatograph | Sensitivity | 0236 | JJG700-1999 V.R.of Gas Chromatograph | TCD：≥800mV·mL/mgF | Urel=4.5% |  |  |
|  |  | limit of detection |  |  | FID：5×10-10g/sFPD（P）：1×10-10g/sNPD（N）：5×10-12g/s ECD：5×10-12g/s | Urel=5% |  |  |
| 164 | Liquid Chromatographs | limit of detection | 0236 | JJG705-2002 V.R.of Liquid Chromatographs | Eyeable ultraviolet：1×10-7g/mL | Urel=6% |  |  |
| 165 | Rotational Viscometer | Viscosity | 1700 | JJG1002-2005 V.R.of Rotational Viscometers | (1～105) mPa·s | Urel=2.2% |  |  |
| 166 | Flow Cupe Viscosimeter | Viscosity | 1700 | JJG743-1991 V.R.of Flow Cupe Viscosimeter | (10～500) mm2/s | Urel=2.3% |  |  |
| 167 | Detector of Combustible Gases | Gas Concentration | 0236 | JJG693-2004 V.R.of the Alarmer Detector of Combustible Gas | (0～100)% LEL | Urel=2% |  |  |
| 168 | Dissolved Oxygen Meter | Dissolved Oxygen concentration | 1700 | JJG291-2008 V.R.of Film Electrode Dissolved Oxygen Meter | （0～20） mg/L | t=10℃: U=0.07mg/L; t=20℃: U=0.05mg/L; t=30℃: U=0.04mg/L |  |  |
| 169 | V.R.of Carbonsulfur Analyzer | Content of C | 1700 | JJG395-1997 V.R.of Carbonsulfur Analyzer | (0.001～ 3.000)% | Urel = 0.013% |  |  |
|  |  | Content of C |  |  | (0.001～0.300)% | Urel =0.005% |  |  |
| 170 | Emission Spectrometer | Limit to Measuring | 1613 | JJG 768-2005 V.R.of Emission Spectrometer | Z:≤0.01mg/L,Ni:≤0.03mg/L,Mn:≤0.005mg/L,Cr:≤0.02mg/L,Cu:≤0.02mg/L,Ba:≤0.005mg/L | Urel=20% |  |  |
| 171 | Cold Atomic Absorption Analyzer | Mercury Concentration | 0240 | JJG548-2004 V.R.of Mercury Analyzers | ≤10 ng/ml | U=0.07ng/mL |  |  |
| 172 | X-Ray Fluorescence Spectrometers | Precision | 1618 | JJG810-1993 V.R.of Wavelength Dispersive X-Ray Fluorescence Spectrometers | SiO2(58.4～88.9)% Ni:(27～76)μg/g | Urel=3.0% |  |  |
| 173 | Rapid Pesticide Residue Tester | Transmission | 0240 | JJG(GD)006-2005 V.R.of Rapid Pesticide Residue Tester | (0～100)% τ | Urel=0.6% |  |  |
| 175 | Digital ElectronicSphygmomanometer | Pressure | 1320 | JJG 692-2010 V.R.of Non-invasive automatic blood pressure monitor | (0～40) kPa | U=0.27kPa |  |  |
| 176 | Medical multi-parameter monitor | Heart rate | 0709 | JJG (粤) 014-2010 V.R.of Medical multi-parameter monitor | (30～300) 次 /分 | Urel=1% |  |  |
| 176 | Medical multi-parameter monitor | Voltage | 1514 | JJG (粤) 014-2010 V.R.of Medical multi-parameter monitor | (0.5 ～3) mV | Urel=2.2% |  |  |
|  |  | Pressure | 1320 |  | (0～40)kPa | U=0.2kPa |  |  |
|  |  | Oxygen concentration | 0711 |  | (30～300)% | U=1.3% |  |  |
| 177 | Baby Incubator | Temperature | 0517 | JJF1260-2010 C.S.for Baby Incubator | (10～ 42)℃ | U=(0.3～1)℃ |  |  |
|  |  | Relative humidity |  |  | (30～75)%RH | U=5%RH |  |  |
| 178 | Thermal conductivity tester | Thermal conductivity | 1505 | JJF(Su) 98-2010 C.S.for Thermal Conductivity tester | (0.02～1) W/(m·K) | U=9×10-4 W/(m·K) |  |  |
| 179 | Thermostatic bath | Temperature | 1504 | JJF1030-2010 Measurement and Test Norm of Thermostatic Bath’s Metrological Characteristics | (-30～300)℃ | U=(0.05～0.2)℃ |  |  |
| 180 | High-temperatureresistance furnace (Muffle urnace) | Temperature | 1504 | JJF1184-2007 Testing Specification of Temperature Uniformity in Thermocouple Calibration Furnaces | (100～1600)℃ | U=(1.0～4.0)℃ |  |  |
| 181 | Asphalt aging oven | Temperature | 1504 | JJG(Traffic)056-2004 V.R.of Asphalt aging oven | (150～200)℃ | U=0.3℃ |  |  |
| 182 | Accelerated Polishing Machine | Temperature | 1504 | JJG(Traffic) 057-2004 V.R.of Accelerated Polishing Machine | (0～180)℃ | U=(0.3～0.5)℃ |  |  |
|  |  | quality |  |  | (0～100)g | U=0.3g |  |  |
|  |  | size |  |  | (0～200)mm | U=0.03mm |  |  |
| 183 | Extension Instrument asphalt | Temperature | 1504 | JJG (Traffic) 023-2002 V.R.of Extension Instrument asphalt | (0～100)℃ | U=0.3℃ |  |  |
| 184 | Melt flow rate meter | rate | 1025 | JJG878-1994 Melt flow rate meter | (0～20)g/10min | Urel=3.1% k=2 |  |  |
| 185 | Temperature Transmitter | Temperature | 1501 | JJF1183-2007 C.S.for the Temperature Transmitter | (-200～1800)℃ | U=(0.5～5)℃ |  |  |
| 187 | Differential Pressure Type Flowmeter | Pressure | 1320 | JJG640-1994 Verification Regulation of Differential Pressure Type Flow meter | 0kPa～200kPa | Urel=0.2%,k=2 (80kPa) |  |  |
| 188 | Thermocouple temperature calibrator | DC Voltage | 0409 | JJG445-1986 V.R.of DC Standard Voltage Source | (0～100)mV | Urel=0.05% |  |  |
| 189 | Thermal resistance temperature calibrator | DC Resistent | 0409 | JJG166-1993 V.R.of DC Resisters | (0～400)Ω | Urel=0.02% |  |  |
| 190 | Industrial Process Measurement recorder | Temperature | 1502 | JJG74-2005 V.R.of Industrial Process Measurement recorder | Mate Resistance: (-200～850)℃ | U=(0.5～5)℃ |  |  |
|  |  |  |  |  | Mate Thermocouple: (0～1600)℃ |  |  |  |
| 191 | AC Watt-hour Meters at Place of Installation | Error of electric energy | 0410 | JJF 1055-1997 Technical Norm of the Calibration of AC Watt-hour Meters at Place of Installation | (0～380)V， (0～5)A, 50Hz,60Hz | Urel=0.5% |  |  |
| 194 | Impulse withstanding Voltage Tester | Voltage: Peak-Peak | 0426 | JJG361-2003 V.R.of Pulse Voltmeter | Peak-Peak: 0.1kV~40kV， | Urel=2% |  |  |
| 195 | Battery Internal Resistance Meter | Resistance | 0410 | JJG 837-2003 V.R.of D.C. low Resistance Meters | 1mΩ~100Ω | Urel=0.17% |  |  |
|  |  | Voltage |  | JJG 315-1983 V.R.of DC Digital Voltmeter | 0.1V~100V | Urel=0.22% |  |  |
| 196 | Electrolytic Capacitor Leakage Current Tester | Direct Porily Voltage | 0409 | JJG（Electronic）306003-2006 V.R.of Electorlytic Capacitor Leakage Current Tester | 1V~500V | Urel=0.10% |  |  |
|  |  | Leakage Current | 0404 |  | 0.2μA～20mA | Urel=0.6% |  |  |
| 197 | Automatic Potentiometric Titrator | Voltage | 1312 | JJG814-1993 V.R.of Automatic Potentiometric Titrator | (0～1000) mV | 0.1 Grade: Urel=0.1% 0.05 Grade: Urel=0.01% |  |  |
| 198 | Current Transformers of Measuring Service | Ratio Difference | 0402 | JJG313-2010 V.R.of Current Transformers of Measuring Service | 5A-2000A/ 5A/1A | f：U=0.024% |  |  |
|  |  | Phase Difference |  |  | （0～900）ˊ | δ：U=0.68ˊ |  |  |
| 199 | Voltage Transformers of Measuring Service | Ratio Difference | 0402 | JJG314-2010 V.R.of Voltage Transformers of Measuring Service | 3kV-10kV，100V-100/3V | f：U=0.024% |  |  |
|  |  | Phase Difference |  |  | （0～900）ˊ | δ：U=0.68ˊ |  |  |
| 200 | DC Low Resistance Meters | Resistance | 0402 | JJG837-2003 V.R.of D.C. Low Resistance Meter | 2mΩ～20kΩ | Urel=0.18%~0.3% ((1~10)mΩ: Urel=0.3%, 100mΩ~10kΩ: Urel=0.18%) |  |  |
| 201 | DC Resistors case | Resistance | 0402 | JJG982-2003 V.R.of DC Resistors case | (10-3～105)Ω | Urel=0.013% |  |  |
| 202 | High Insulation Resistance Meter | Resistance | 0403 | JJG 690-2003 V.R.of High Insulation Resistance Meter | 100kΩ~111.111GΩ | Urel=0.7%~11.6% (100kΩ~1MΩ: Urel=0.7%; 1MΩ~100MΩ: Urel=1.2%, 100MΩ~1000MΩ: Urel=2.3%, 1000MΩ~10GΩ: Urel=5.8%, 10GΩ~100GΩ: Urel=11.6%) |  |  |
| 203 | Clamp Ammeters | Current | 0410 | JJF1075-2001 C.S.of Clamp Ammeters | 0.5A~1000A (45Hz~65Hz) | Urel=1.2% |  |  |
| 204 | Digital Clamp Ammeters | Current | 0410 | JJF1075-2001 C.S.of Clamp Ammeters | 0.1A~500A ( 45Hz~65Hz) | Urel=1.0% |  |  |
| 205 | Digital Power meter | AC Power | 0409 | JJG780-1992 V.R.of AC Digital Power Meter | 1.5W～12kW (45Hz~65Hz) | Urel =0.7% |  |  |
| 206 | AC/DC Amperemeter Voltmeter Wattmeter | DC Voltmeter | 0410 | JJG124-2005 V.R.of Amperemeter Voltmeter Wattmeter and Ohmmeter | 1mV～1000V | U rel =0.11% |  |  |
|  |  | AC Voltmeter |  |  | 1mV～100V (40Hz~10kHz) | Urel =0.12% |  |  |
| 206 | AC/DC Amperemeter Voltmeter Wattmeter | DC Amperemeter | 0410 | JJG124-2005 V.R.of Amperemeter Voltmeter Wattmeter and Ohmmeter | 10μA～30A | Urel =0.11% |  |  |
|  |  | AC Amperemeter |  |  | 30μA～30A (40Hz~10kHz) | Urel =0.12% |  |  |
| 207 | Digital Multimeter | DC Voltmeter | 0410 | JJG315-1983 V.R.of DC Digital Voltmeter | 10mV～1000V | Urel =0.01% |  |  |
|  |  | AC Voltmeter |  | JJG(AeroSpace)34-1999 V.R.of AC Digital Voltmeter | 1mV~1000V (10Hz~100kHz) | Urel =0.07% |  |  |
|  |  | DC Amperemeter |  | JJG598-1989 V.R.of DC Digital Ampere meter | 10μA～20A | Urel =0.02% |  |  |
|  |  | AC Amperemeter |  | JJG(AeroSpace)35-1999 V.R.of AC Digital Amperemeter | 29μA~20A (100Hz~10kHz) | Urel= (0.12%~0.3%), (29μA~2A: Urel =0.12%, 2A~20A: Urel =0.3%) |  |  |
|  |  | DC Ohmmeter | 0410 | JJG724-1991 V.R.of DC Digital Ohmmeter | 1mΩ～1.1GΩ | (1~10)mΩ: Urel=0.3%, 1Ω~10MΩ: Urel =0.02%, 11MΩ~33MΩ: Urel =0.03%, 33MΩ~110MΩ: Urel =0.07%, 110MΩ~330MΩ: Urel =0.5%, 330MΩ~1100MΩ: Urel =2% |  |  |
|  |  | AC Powermete |  | JJG780-1992 V.R.of AC Digital Powermeter | 1.5W～12kW (45Hz~65Hz) | Urel=0.7% |  |  |
| 208 | Multimeter Calibrator | DC V | 0409 | JJG445-1986 V.R.of DC volt calibrator | 100μV~1000 V | Urel=0.006% |  |  |
|  |  | AC V |  | JJG410-1994 V.R.of AC voltage Calibration | 10 mV~1000 V | Urel=0.014% |  |  |
|  |  | DC A |  | JJG38-1987 V.R.of DC current calibrator | 10 A～20 A | Urel=0.012% |  |  |
| 208 | Multimeter Calibrator | AC A | 0409 | JJG(spaceflig-ht)51-1999 V.R.of Alternating Current Standard Source | 10μA～20 A | Urel=0.054% |  |  |
|  |  | OHM |  | JJG166-1993 V.R.of DC Resistors | 1Ω～100 MΩ | Urel=0.01% |  |  |
| 209 | DC Bridge | Resistance | 0411 | JJG125-2004 V.R.of DC Bridges | (10-3～105)Ω | Urel=0.013% |  |  |
| 210 | L.C.R Meter | Capacitance | 0411 | JJG（Electronic）05046-1991 V.R.of （Pre. Run）GR-1687 Type LCR Digit Bridge | 100pF~111.111μF | Urel=0.06%~0.17%,100pF:Urel=0.17%, 1000pF:Urel=0.06%, 1000nF:Urel=0.06% |  |  |
|  |  | Inductance |  |  | 1.00μH～0.11111H | Urel=0.03%~1.4%, 10μH:Urel=1.4%, 100μH:Urel=0.15%, 100mH:Urel=0.03%, |  |  |
|  |  | Resistance |  |  | 1Ω~1.11111MΩ | Urel=0.03%~0.2%, 1Ω:Urel=0.2%, 100Ω:Urel=0.03%, 1kΩ:Urel=0.03% |  |  |
| 211 | Withstanding Voltage Tester | Voltage | 0411 | JJG795-2004 V.R.of Withstanding Voltage tester | （0.1～10）kV | Urel =1.7% |  |  |
|  |  | Leakage Current |  |  | （0.5～199）mA | Urel =1.3% |  |  |
|  |  | Time Controller |  |  | (0～999.9)s | Urel =1.0% |  |  |
| 212 | Spark Tester | Test Voltage | 0410 | JJF(Lu) 63-2007 C.S.for Wire Spark Tester | 0.5kV～15kV | DC: Urel =0.62% AC: Urel =1.2% |  |  |
| 213 | Leakage Current Instrument | Current | 0409 | JJG 843-2007 V.R.ofLeakage Current Instrument and Meter | (0～200)mA (15Hz~30kHz) | Urel =0.4% |  |  |
|  |  | Voltage |  |  | (0～300)V (15Hz~30kHz) | Urel =0.3% |  |  |
|  |  | Input Resistance |  |  | (100～2000)Ω | Urel =0.024% |  |  |
| 214 | Earthcontinuity Testers | Resistance | 0410 | JJG984-2004 V.R.of Earthcontinuity Testers | (0～1000)mΩ(10~30)A | Urel=0.3% |  |  |
|  |  | Current |  |  |  | Urel=0.3% |  |  |
| 215 | Earth Resistance Meter | Resistance | 0402 | JJG366-2004 V.R.of Earth Resistance Meter | (0.1～1000)Ω | Urel=0.18%～0.8% (0.1 Ω:Urel=0.8%, 1 Ω:Urel=1.1%, 1000Ω:Urel=0.5%) |  |  |
| 216 | MegohmMeter | Resistance | 0409 | JJG 622-1997 V.R.of Megohmmeter | (0.1～1000)MΩ | Urel=0.7%~2.3% (100kΩ~1MΩ: Urel=0.7%; 1MΩ~100MΩ:Urel=1.2%, 100MΩ~1000MΩ: Urel=2.3%) |  |  |
|  |  | Voltmeter | 0410 |  | (0～5000)V | Urel=1.2% |  |  |
| 217 | Safe Tester | Voltage | 0411 | JJG795-2004 V.R.of Withstanding Voltage Tester | (0.1～10)kV | Urel=1.3% |  |  |
|  |  | Insulation Resistance | 0409 | JJG622-1997 V.R.of Megohmmeter | (0.1~10000)MΩ | Urel=0.7%~5.8% (100kΩ~1MΩ: Urel=0.7%; 1MΩ~100MΩ:Urel=1.2%, 100MΩ~1000MΩ: Urel=2.3%, 1000MΩ~10GΩ: Urel=5.8%) |  |  |
|  |  | Conductance Resistance | 0402 | JJG984-2004 V.R.of Earth-Conti- nuity Testers | (0.1～1000)mΩ | Urel=0.3% |  |  |
| 218 | Wrist Strap/ Footwear Tester | Resistance | 0410 | JJG724-1991 V.R.of DC Digital Ohmmeter JJG1005-2005 V.R.of Electronic Insulating Resistance Meters | 100Ω～100GΩ | Urel=(0.9～5)% |  |  |
| 219 | Electros Tatic Discharge Generator | Discharge period | 0421 | GJB/J 5025-2001 V.R.of electrostatic discharge simulator | ±10V～±100kV | Urel=3% |  |  |
|  |  | Peak Current |  |  | (0~112.5)A | Urel =3% |  |  |
|  |  | Rise Time |  |  | 0.1ns~100ns | Urel =4% |  |  |
| 220 | High Voltage Electrostatic Meter | ACV | 0426 | JJG494-2005 V.R.of High Voltage Electrostatic Voltmeters | (0～20)kV，Power Frequency | Urel＝4% |  |  |
|  |  | DCV |  |  | (0～20)kV | Urel＝4% |  |  |
| 221 | Tesla-Meter | Magnization | 0405 | JJG242-1995 V.R.of Tesla-Meter | (50～1000)mT | Urel=1.5% | Accredited only for DC magnetization intensity item ，size of sensor below 6mm×2mm |  |
| 222 | Flow Display | Flow | 1316 | JJG1003-2005 V.R.of Flow Intergration Meters | (0.01~9999.99)m3/h | Urel=0.18% |  |  |
| 223 | Turn Tester | Circle Number | 0406 | SJ20241-1993YG Verification Method of Turn Tester | （0～20000）Turn | Urel=0.12% |  |  |
| 224 | Cable Continuity Tester | Continuity Tester | 0410 | JJG 724-1991 V. R. of DC Digtal Ohmmeter | 0.1Ω～10kΩ | Urel=0.8% |  |  |
|  |  | Megohmmeter |  | JJG622-1997 V.R.of Megohmmeter | 100Ω～1GΩ | Urel=1.2%~2.3% (100Ω~100MΩ: Urel=1.2%, 100MΩ~1000MΩ: Urel=2.3%) |  |  |
| 225 | Surface resistance tester | Value | 4100 | JJG 622-1997 V.R.of megohmmeter | 100Ω～10GΩ | Urel= (0.7～5.8)% (100kΩ~1MΩ: Urel=0.7%; 1MΩ~100MΩ:Urel=1.2%, 100MΩ~1000MΩ: Urel=2.3%, 1000MΩ~10GΩ: Urel=5.8%,) |  |  |
|  |  | Voltage | 4100 |  | (1～1000)V | Urel=2.5% |  |  |
| 226 | Standard Capacitors | Capacitors | 0404 | JJG183-1992 V.R.of Standard Capacitors | 1pF～1000pF | Urel=(0.06~0.12)% |  |  |
| 227 | Standard Inductors | Inductors | 0400 | JJG726-1991 V.R.of Standard Inductors | 1μH～1000mH | Urel =(0.03~0.6)% （10μH: Urel=0.6%, 100μH:Urel=0.08%, 100mH: Urel=0.03 %) |  |  |
| 228 | DC stable Voltage Power Supply | DC Voltage | 0410 | JJG（AeroSpace）6-1999 V.R.of DC Power Supply | （0～30）V | Urel=0.27% |  |  |
|  |  | DC Current |  |  | （0～3）A | Urel=0.28% |  |  |
| 229 | AC Voltage Stable Source | Voltage | 0415 | JJG(spaceflig-ht) 2-1999 V.R.of AC Standard voltage Source JJG(spaceflig-ht)51-1999 V.R.of AC Standard Current Source | 20mV~600V | Urel=0.6% | Accredited Only for voletage value、current value |  |
|  |  | Current | 0415 |  | 10mA～20 A | Urel=1.2% |  |  |
| 230 | Electronic Load | Voltage | 0402 | JJF(Electronic)30101-2007 DC Electronic Load | 0.1 V～60 V | Urel=0.09% |  |  |
|  |  | Current |  |  | 0.01 A～50 A | Urel=0.16% |  |  |
| 231 | D.C.Potentiometer | Electromotive Force | 1411 | JJG123-2004 V.R.of D.C.Potentiometer | (0～1.91111)V | Urel=0.005% |  |  |
| 232 | Electrical Energy Meters with Electronics | Electrical Energy | 1514 | JJG596-1999 V.R.of Electrical Energy Meters with Electronics | 57.7V～380 V, 0.1 A～100 A | Urel=0.12% |  |  |
| 233 | Alternating Current watt-Hour Meters | Electrical Energy | 1514 | JJG307-2006 V.R.of Electromechanical Meters for Measuring Alternating-current Electrical Energy | 100 V～380 V, 0.1 A～100 A | Urel=0.5% |  |  |
| 234 | LF Electeronic Voltmeter | Voltage | 0410 | JJG782-1992 V.R.of LF Electeronic Voltmeter | (0.001~300)V, (10Hz~500kHz) | Urel=0.6%~1.5% (100kHz:Urel =0.6%, 100kHz~500kHz: Urel=1.5%) |  |  |
|  |  | Addditional Error of Frequency |  |  |  | U=0.1dB |  |  |
| 235 | Psophometer | Zero Level indication error | 1401 | JJF 1167-2007 C.S.of Psophometer | 1mV～100V （0～20）kHz | Urel =1.2% | Except for CMRR,input resistance and detection characteristic of indicator |  |
| 236 | Loudspeaker Fo.Tester | Frequency | 0412 | JJG（Electronic）12037-1991 V.R.Of DF5990 Loudspeaker Fo.Tester | 16Hz～3kHz | Urel=6×10-4 |  |  |
| 237 | Oscilloscope | Vertical Deflection Factor | 0413 | JJG262-1996 V.R.of Analogue Oscilloscope | 1mV～100V | Urel=1.8% |  |  |
|  |  | Horizontal Deflection Factor |  |  | 1ns～100s | Urel=0.2% |  |  |
|  |  | Band Width |  |  | DC~1GHz | Urel=3% |  |  |
|  |  | Rise Time |  |  | 2ns~100ns | Urel=3% |  |  |
| 238 | Low Frequency Signal Generator | Frequency | 0416 | JJG602-1996 V.R.of Low Frequency Signal Generator | 10Hz～1MHz | Urel=0.14% |  |  |
|  |  | Voltage |  |  | 1mV～7V | Urel=1.9% |  |  |
| 239 | Distortion Meter | Distortion | 0413 | JJG251-1997 V.R.of Distortion Meter | (0.001~100)%,5Hz～200kHz | Urel =0.8%~3.22% (0.2%:Urel =0.8%, 0.1%:Urel =1.6%, 0.09%:Urel =1.8%, 0.05%:Urel =3.22%) |  |  |
| 240 | Transistor Curve Tracer | The Collectorto- Emitter Current | 0418 | JJG（Electronic）04014-1988 V.R.of Transistor Curve Tracer | 1μA～5A | Urel=0.9% |  |  |
|  |  | The Collectorto- Emitter Voltage |  |  | 10mV～50V | Urel=0.8% |  |  |
|  |  | The Step of Current |  |  | 1μA～200mA | Urel=1.4% |  |  |
|  |  | The Step of Voltage |  |  | 50mV～1V | Urel=1.3% |  |  |
| 241 | Function Generator | Frequency | 0416 | JJG（Electronic）15013-91 V.R.of 5200A Function Generation | 0.2Hz～2MHz | Urel=0.16% |  |  |
|  |  | Amplitude |  |  | 0V～7V | Urel=2% |  |  |
| 242 | Audio Sweeper | Sweeper Range | 0416 | JJG（Electronic）12005-1987 V.R.of 4001A Audio Sweeper | 20Hz～20kHz | Urel=0.6% |  |  |
|  |  | Output Level |  |  | （0～20）V | Urel=1.6% |  |  |
| 243 | AM/FM Sweeper | Frequency | 0419 | JJG（Electronic）07003-1988 V.R.of MSW-7124 AM/FM Sweepe | 100kHz ~110MHz | Urel=0.17% |  |  |
|  |  | Outout Level of Sweeper |  |  | 20dBμ~100dBμ | Urel=0.3dB |  |  |
| 244 | Frequency Frequency Span Reference Level | Frequency | 0419 | JJG501-2000 V.R.of Spectrum Analyzer | 10Hz~ 4GHz， (-130~20)dBm | Urel=1.0×10-6 |  |  |
|  |  | Voltage |  |  |  | 20dBm: U=(0.08~1.8)dB (100kHz:U=0.08dB, 10MHz:U=0.1dB, 300MHz,:U=0.1dB, 1GHz,:U=0.3dB; 2GHz,m:U=0.5; 4GHz,U=1.8dB) |  |  |
| 245 | Audio Analyzer | AC Voltage | 0421 | JJG（Electronic）30302-2008 V.R.of Audio Analyzer | 1mV～100V | Urel=2.3% |  |  |
|  |  | Distortion & S/N |  |  | 0.001%～30% | Urel=0.8%~3.22% (0.2%:Urel=0.8%, 0.1%:Urel=1.6%, 0.09%:Urel=1.8%, 0.05%:Urel=3.22%) |  |  |
|  |  | Frequency |  |  | 20Hz～200kHz | Urel=1.2×10-5 |  |  |
|  |  | Output of Level |  |  | 1mV～6V | Urel=2.3% |  |  |
|  |  | Output of Frequency |  |  | 10Hz～150kHz | Urel = 0.17% |  |  |
| 246 | Signal Generator | Frequency | 0416 | JJG173-2003 V.R.of Signal Generator | 150kHz～1.3GHz | Urel=6×10-6 | Except for spectrum purity |  |
| 246 | Signal Generator | Output Level | 0416 | JJG173-2003 V.R.of Signal Generator | (-127～13)dBm (150kHz~1.3GHz) | U=0.2dB | Except for spectrum purity |  |
|  |  | FM |  |  | （1～99）% | U=1.2% |  |  |
|  |  | AM |  |  | (0～400)kHz | Urel=3% |  |  |
| 247 | Modulation Meter | AM | 0419 | JJF1111-2003 C.S.of Modulation Meter | (1～99）% | U=3% |  |  |
|  |  | FM |  |  | (0～400)kHz | Urel=3% |  |  |
| 248 | Voltage Surge Generator | Peak Voltage | 0421 | JJF(Zhejiang) 1060-2010 C.S.of Voltage Surge Generator | Peak： (-15~15)kV | Urel=3% |  |  |
|  |  | Time |  |  | (1.2～50)µs | Urel=5% |  |  |
| 249 | Oscillograph High Voltage Probe | DC Attenuation Times | 0413 | JJF(Electronic) 30304-2008 C.S.of Oscillograph High Voltage Probe | 10×~ 1000× | Urel=1.2% |  |  |
|  |  | AC Attenuation Times |  |  | 10×~ 1000× | Urel=1.2% |  |  |
| 250 | Crystal Oscillators inside the Electrical Measuring Instruments | frequency | 0412 | JJG180-2002 V.R.of Crystal Oscillators inside the Electrical Measuring Instruments | 1MHz、5MHz、10MHz | Urel=7×10-10 |  |  |
| 252 | Electret Microphone Instruments | Frequency | 1401 | JJF1145-2006 C.S.for Electret Microphone Instruments | 10Hz～10kHz | Urel =6×10-4 |  |  |
|  |  | Voltage |  |  | -30dB,-40dB, -50dB | Urel=2% | Do not Calibrate the Audio Sound Level |  |
| 253 | Watch/ Clock Analyzer | Day Error | 0412 | JJG488-2008 V.R.of Watch Tester | (-99～ +99)s/d | U=0.2% | Accredited Only for electronic model |  |
|  |  | Month Error |  |  | (-99～ +99) s/m | U=0.6% |  |  |
| 254 | Telephone Analyzer | Frequency | 0419 | JJG(YD)032-1995 V.R.of Tone Telephone Analyzer | Double Audio (697～1477)Hz | U=0.06% |  |  |
|  |  | Level |  |  | （0～30）dBm | Urel=0.7% |  |  |
| 255 | Universal Counter | Frequency | 0412 | JJG349-2001 V.R.of Universal Counters | 0.1Hz~1.3GHz | Urel=1×10-6 |  |  |
|  |  | Time |  |  | 0.1Us~10s | Urel=9×10-7 |  |  |
| 244 | Mechanical Stopwatches | Time | 0412 | JJG237-2010 V.R.of Stopwatches | 0.1s ～15min | U=0.04s |  |  |
| 245 | Digital Stopwatches | Interval | 0412 | JJG237-2010 V.R.of Stopwatches | 0.01s～24h | U=0.01s |  |  |
|  |  | Time Deviation per Day |  |  | （0～9.99）s/d | U=0.24s/d |  |  |